## Slide 1: Integrating tower-based dual-geometry hyperspectral system and drone-based hyperspectral imaging system for calibration and validation of the FLEX mission across multiple ecosystems in South Korea
Presenter: Youngryel Ryu
Jeongho Lee, Wonseok Choi

## Slide 2: Acknowledgements
Jeongho Lee
Wonseok Choi

## Slide 3: Calibration!
Quote from Dennis Baldocchi
Know Thy site and Thy instruments; Calibrate, Calibrate, Calibrate!

## Slide 4: Calibration of spectrometer is very hard
Climate change vs sensor change
Unstable light source
Fiber optics is not light tight
Bending fiber optics change signals
And so on….

## Slide 5: Nature is complex, observations are inconsistent
Ryu (2024) Journal of Geophysical Research-Biogeosciences
Spatial, temporal and spectral inconsistencies

## Slide 6: Extraordinary scale gaps between satellite remote sensing, ground optical data, and flux tower footprint
Ryu (2024) Journal of Geophysical Research-Biogeosciences

## Slide 7: Goal
Cal/Val FLEX data in space and time across ecosystems in South Korea
  Sun-induced chlorophyll fluorescence
  Hyperspectral reflectance
  Leaf area index
  Canopy photosynthesis

## Slide 8: Rotaprism system that integrates BHR and HCRF in VNIR and SIF
Lee et al (2026) Remote Sensing of Environment

## Slide 9: Continuous BHR and HCRF observations
Lee et al (2026) Remote Sensing of Environment

## Slide 10: Looking deeper into BHR and HCRF
Lee et al (2026) Remote Sensing of Environment

## Slide 11: Spectral fingerprints across seasons
Lee et al (2026) Remote Sensing of Environment

## Slide 12: Expanding the Rotaprism system across ecosystems
DBF, ENF, CRO, WET, MF
GRA will be added

## Slide 13: What is missing？
FLEX pixel is 300 m!
?
?
?
?
?
?
?
?
?
?
?
?
?
?
?
?

## Slide 14: Hyperspectral drone imaging system

## Slide 15: Getting the right hyperspectral image from drone requires a LOT of cross100 calibrations
Choi et al (2025) Agricultural and Forest Meteorology

## Slide 16: Reflectance is complex…
S2 “effective” spatial resolution is not 10 m, not fixed
  Point spread functions
  Adjacent effects
  …
Choi et al (2025) Agricultural and Forest Meteorology
10 m

## Slide 17: Forest is even more complex
Choi et al (2025) Agricultural and Forest Meteorology

## Slide 18: Forest is even more complex
Choi et al (2025) Agricultural and Forest Meteorology

## Slide 19: Detecting SIF at 3-7 nm resolution -Tested across scales and platforms-
Choi et al., (2026) Remote Sensing of Environment

## Slide 20: SFM worked best -SCOPE and DCMU-
Choi et al., (2026) Remote Sensing of Environment
SCOPE simulation
DCMU experiment
0.06 nm
4 nm

## Slide 21: SFM worked best -Hyperspectral drone-
Rice leaf brown spot disease
Consistency between PhiF and CCI
Choi et al., (2026) Remote Sensing of Environment

## Slide 22: SFM worked best -sub nanometer imager vs mid resolution imager-
Choi et al., (2026)
Remote Sensing of Environment
Sub-nanometer
5 nm

## Slide 23: Take home message
FLEX Cal/Val systems are ready
  Temporal variability
    Tower based rotaprism-hyperspectral system
  Spatial variability
    Drone based hyperspectral imaging system
  All flux towers measure CO2 fluxes, so GPP too
  Ancillary data will be also collected
    Leaf area index
    …

## Slide 24: Hiring!
Come to South Korea to enjoy
  SIF, NPQ, photosynthesis
  Cal/Val FLEX
  …
  Life!

## Slide 25: Hire! Those great PhDs will be out in the job market soon!
Jeongho Lee
(jeongho.public@gmail.com)
Wonseok Choi
(jackie6396@snu.ac.kr)
Huaze Feng
(mr.huaize@gmail.com)
Field spectroscopy and SIF
Drone and airborne SIF
Chlrophyll to canopy fluorescence