## Slide 1
Pietro Chierichetti1, Jorge Vicent-Servera2, Théo Paccoud2, Pekka Kolmonen3, Neus Sabater3, Marco Celesti4, Marin Tudoroiu5, Alberto Maiocchi1, Roberto Colombo1, Sergio Cogliati1
1 University of Milano-Bicocca, Italy; 4 European Space Agency, ESA-ESTEC, The Netherlands;
2 Magellium Artal Group, France; 5 European Space Agency, ESA-ESRIN, Italy
3 Finnish Meteorological Institute, Finland;
SIF Full-Spectrum Retrieval in the Framework of the FLEX Mission

## Slide 2: Outline
FLEX SIF products
L2B retrieval module
Performance assessment
L2B adaptation to ground-based measurements
Final remarks

## Slide 3: FLEX L2B SIF products
The FLEX-DISC L2PP L2B module is specifically developed to retrieve the Solar-Induced Fluorescence (SIF) spectrum and uncertainty from FLORIS
Products:
SIF spectrum (670-780 nm)
SIF at O2 bands
SIF at red and far-red peaks
SIF max emission wavelength
Spectrally integrated SIF (SIFint)
… and associated prognostic uncertainties

## Slide 4: FLEX L2 Prototype Processor – L2B module
1) TOA radiance
2) Apparent reflectance
3) Forward operator
Atmospheric functions from L2A

## Slide 5: Forward operator (surface)
SIF parametric model
2 peak functions (asymmetric)
spectral range 670–780 nm
state vector
agnostic from specific RT models
R parametric model
Piece wise cubic spline
Knots location based on:
reflectance shape
radiance absorption feature
Effective BRDF
Red
Far-Red

## Slide 6: Inverse problem
3) Iterations
Levenberg–Marquardt
Analytical Jacobian
Tikhonov regularization (Λ) with A‑Priori covariance constraints
Self‑Adaptive regularization via the Error Consistency Method
To match observations (y) vs. forward operator
Optimizing state vector
Spectral window 670-780 nm (global-fit)
Full propagation of uncertainty (spectral covariance)
1) Iterative regularized least-square problem (MAP, Bayesian)
2) Cost Function

## Slide 7: Products Uncertainty
SIF parameters cov uncertainty
Measurement uncertainty matrix
A-priory probability distribution
Input measurement uncertainty and
Prior probability covariance
Posterior
uncertainty
Monte Carlo
regularization Λ
Iterative
algorithm
Uncertainty in spectral domain
Mapping to spectral domain
Linear propagation

## Slide 8: FLEX-E2E Test Data Sets (TDS 6.1)
TDS is composed of synthetic scenes generated by the E2E simulator
Scene configurations (SGM):
  Surface characteristics (SIF, biophysical parameters)
  Atmospheres
Instrument configurations (FIPS):
C1: Ideal instrument (noise free)
C4: Nominal instrument (all noises: ARG, RXRA, RSRA, Photon)
C6: Nominal instrument with perfect radiometric calibration (w/o ARG)
Karpov
Catalonia
ScV_01

## Slide 9: FLEX-E2E Test Data Sets Results
C1 Ideal
Accurate fit of R* and SIF (single pixel)
Blue dots (valid pixels) show good relationship and small errors
Gray dots represent transition pixels (edges of fields) affected by geometric inconsistency
SIF spectrum retrieval accuracy (Karpov) - Reference
Example single pixel
Scene statistics

## Slide 10: FLEX-E2E Test Data Sets Results
SIF spectrum retrieval accuracy (Karpov) - Reference
Example single pixel
Scene statistics
C6 All noises w/o ARG
Retrievals exhibit increased scatter, although the overall relationship is preserved

## Slide 11: FLEX-E2E Test Data Sets Results
SIF spectrum retrieval accuracy (Karpov) - Reference
Example single pixel
Scene statistics
C4 All noises
Positive bias due to L1B radiometric calibration (ARG +3.5%)

## Slide 12
Absolute Radiometric Gain (ARG)
Photon noise
Error distribution
Relative Spatial Radiometric Aaccuracy (RXRA)
Relative Spectral Radiometric Accuracy (RSRA)
FLEX-E2E Test Data Sets Results
Assessing different instrument noises - preliminary

## Slide 13: L2B SIF retrievals from ground and UAV
ground-based
UAV
To support FLEX data exploitation and DISC product validation (Cal/Val tool):
L2B adapted to process field spectroscopy data from ground-based and UAV
Delivers outputs consistent with FLEX products
Detailed characterization of FLOX measurement uncertainties and their propagation are under implementation within the FRM4FLUO project
Example of diurnal cycles from FLOX

## Slide 14: Final Remarks
Recent methodological improvements integrated into the algorithm have led to substantial gains in overall performance.
SIF O₂‑A (and the far‑red peak) is retrieved with the highest accuracy, whereas O₂‑B (red peak) exhibits greater scatter; overall, SIFint retains a good level of accuracy.
The E2E TDS in the various configurations were essential for the development of the algorithm.
Ongoing efforts focus on increasing retrieval precision, mainly driven by L2B numerical stability vs. instrument photon noise and mis-match in geometry.
During operational phases, achieving and maintaining accurate absolute radiometric calibration (ARG) will be essential.
The L2B algorithm has been adapted to support ground-based (and UAV) spectroscopy, towards a better cross-platform consistency.

## Slide 15: Final Remarks
Thank you for the attention

## Slide 16: FLEX-E2E Test Data Sets Results
SIF spectrum retrieval accuracy (Karpov) - Nominal
C4 All noises